| CALIFORNIA ABOVEGROUND PETROLEUM STORAGE ACT MONTHLY VISUAL INSPECTION CHECKLIST TANKS IN UNDERGROUND AREAS – TANK FACILITY STORAGE CAPACITY LESS THAN 1,320 GALLONS |
| --- |
| I. IDENTIFICATION |
| FACILITY NAME (Same as BUSINESS NAME or DBA-Doing Business As) |  | INSPECTION DATE |  |
| FACILITY ADDRESS | CITY | ZIP CODE |
| TANK 1 ID | TANK 2 ID | TANK 3 ID |
| II. TANK DETAILS |
| Any item marked “NO” requires additional information to describe the condition and date the condition is corrected. Use additional pages if necessary. |
| Item | Status | Comments / Date Corrected |
|  | Tank 1 | Tank 2 | Tank 3 |  |
| Primary Tank |
| 1 | Is tank exterior (roof, shell, ends, connections, fittings, valves, etc.) free of visible leaks? Note: If "No", identify tank and describe leak. | ☐Yes ☐No | ☐Yes ☐No | ☐Yes ☐No |  |
| 2 | Is the tank liquid level gauge readable and in proper operating condition? | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 3 | Is the primary tank free of water or has another preventative measure been taken? Note: Refer to SP001 (6th ed.) Section 6.10 & 6.11 for alternatives for Category 1 tanks. NA is only appropriate for these alternatives. | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 4 | Is the area around the tank (concrete surfaces, ground, containment, etc.) free of visible signs of leakage? | ☐Yes ☐No | ☐Yes ☐No | ☐Yes ☐No |  |
| Double-Walled Tank |
| 5 | Is the interstice for double-wall tank free of liquid? Remove liquid if found. If tank product found, investigate possible leak | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| Equipment on Tank and Piping |
| 6 | Is piping (valves, fittings, connections, pumps, etc.) free of visible leaks? Note: If "No", identify piping, location and describe leak. | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 7 | Is secondary containment for piping free of liquids? Check for alarms if equipped. | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 8 | Is overfill prevention equipment (overfill valve, audible alarm, etc.) in proper operating condition? Note: Verify operation of alarms. | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 9 | Are ladders/platforms/walkways secure with no sign of severe corrosion or damage? | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| 10 | Is the spill containment box on fill pipe empty, free of visible leaks and in proper operating condition? | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| Secondary Containment (Diking/Impounding) |
| 11 | Is the containment free of liquid, debris, cracks, erosion, fire hazards and other integrity issues? | ☐Yes ☐No | ☐Yes ☐No | ☐Yes ☐No |  |
| 12 | Are drain valves closed and in proper operating condition? | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA | ☐Yes ☐No ☐NA |  |
| Other Conditions |
| 13 | Is the system free of any other conditions that need to be addressed for continued safe operation or that may affect the site’s SPCC Plan? | ☐Yes ☐No | ☐Yes ☐No | ☐Yes ☐No |  |
| III. INSPECTOR INFORMATION |
| SIGNATURE OF INSPECTOR | PRINT NAME OF INSPECTOR | DATE (MM/DD/YYYY) |
|  |  | / / |